Prototype School Concept

-   All under one roof

-  One story

-  Structure – Metal building

-  Exterior – Steel studs, densglass board and brick veneer

-  Interior – Standard and Abuse resistant drywall

- Mechanical – Chiller with suspended Fan Coil Units for each classroom

-  Roof – Current district roof spec Standing Seam Metal Roof

-  Cost goal is $110.00 per sf

118,717 sf @ $110.00/sf = $13,058,870.00